Light Up the Green World . LED Downlights Expert 7 Years

1. Model No. TD051A               TD051B               TD051D

LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD051-2.5F | 5W | 400lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 50° | >0.90 | Ra80/90 | ɸ89.7*H56 | ɸ75 |
| TD051-3F | 9W | 790lm |  |  |  |  |  |  | ɸ110*H68 | ɸ90 |
| TD051-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ137.5*H82 | ɸ120 |
| TD051-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ165*H91 | ɸ140 |
| TD051-6F | 30W | 2600lm |  |  |  |  |  |  | ɸ195*H107 | ɸ170 |
| TD051-8F | 40W | 3500lm |  |  |  |  |  |  | ɸ235*H127.5 | ɸ200 |

2. Model No. TD053A                   TD053B               TD053C

IP54 COB Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD053-3F | 10W | 850lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 50° | >0.90 | Ra80/90 | ɸ110*H61 | ɸ95 |
| TD053-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ135*H69 | ɸ110 |
| TD053-5F | 25W | 2200lm |  |  |  |  |  |  | ɸ160*H75 | ɸ130 |
| TD053-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ185*H100 | ɸ165 |
| TD053-8F | 60W | 4800lm |  |  |  |  |  |  | ɸ240*H120 | ɸ205 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

3. Model No. TD033A                TD033B               TD033C

LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD033-3F | 9W | 750lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 60° | >0.90 | Ra80/90 | ɸ108*H52 | ɸ95 |
| TD033-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ142*H65 | ɸ125 |
| TD033-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ158*H75 | ɸ140 |
| TD033-6F | 25W | 2200lm |  |  |  |  |  |  | ɸ185*H88 | ɸ170 |
| TD033-8F | 40W | 3500lm |  |  |  |  |  |  | ɸ226*H108 | ɸ210 |
| TD033-10F | 60W | 5000lm |  |  |  |  |  |  | ɸ282*H130 | ɸ265 |

- Model No. TD041

- Horn LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD041-3F | 9W | 750lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24°60° | >0.90 | Ra80/90 | ɸ105*H90.5 | ɸ95 |
| TD041-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ139*H110.5 | ɸ125 |
| TD041-5F | 25W | 2200lm |  |  |  |  |  |  | ɸ162*H125.5 | ɸ140 |
| TD041-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ185*H145 | ɸ170 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

5. Model No. SD001

LED Gimbal Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD001-3F | 7W | 550lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | ɸ86*H68 | ɸ70 |
| SD001-4F | 12W | 1000lm |  |  |  |  |  |  | ɸ118*H65 | ɸ90 |
| SD001-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ140*H80 | ɸ120 |
| SD001-6F | 30W | 2500lm |  |  |  |  |  |  | ɸ160*H125 | ɸ145 |

6. Model No. SD004

LED Square Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD004A | 30W | 2400lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 12°24°36° | >0.90 | Ra80/90 | SQ175*H145 | 150*150 |
| SD004B | 50W | 4000lm |  |  |  |  |  |  | SQ175*H180 | 150*150 |
| SD004C | 2*30W | 2*2400lm |  |  |  |  |  |  | 175*325*H145 | 150*300 |
| SD004D | 2*50W | 2*4000lm |  |  |  |  |  |  | 175*325*H180 | 150*300 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

7. Model No. TD056

SMD COB Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD056-4F | 12W | 100lm | Philips Driver | SanAnCOB | 3000K 4000K 6000K | 60° | >0.90 | Ra80/90 | ɸ148*H63 | ɸ125 |
| TD056-6F | 20W | 1600lm |  |  |  |  |  |  | ɸ195*H63 | ɸ168 |
| TD056-8F | 30W | 2400lm |  |  |  |  |  |  | ɸ230*H63 | ɸ190 |
| TD056-10F | 30W | 2400lm |  |  |  |  |  |  | ɸ280*H88 | ɸ195 |

Model No. DLM001-A                 DLM001-B              DLM001-C              DLM001-D

8. Model No. DLM001-E              DLM001-F             DLM001-C

Modular Downlight

Light Up the Green World . LED Downlights Expert 7 Years

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DLM001-A | 10W | 850lm | Philips Driver | CREE COB | 3000K 4000K 6000K | 15°24°36° | >0.90 | Ra80/90 | SQ95*H98 | 85*85 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ95*H103 |  |
| DLM001-B | 10W | 850lm |  |  |  |  |  |  | SQ105*H113 | 95*95 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ105*H118 |  |
| DLM001-C | 10W | 850lm |  |  |  |  |  |  | SQ95*H118 | 85*85 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ95*H123 |  |
| DLM001-D | 10W | 850lm |  |  |  |  |  |  | ɸ95*H98 | ɸ85 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ95*H103 |  |
| DLM001-E | 10W | 850lm |  |  |  |  |  |  | ɸ90*H105 | ɸ80 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ90*H110 |  |
| DLM001-F | 10W | 850lm |  |  |  |  |  |  | ɸ85*H105 | ɸ77 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ85*H112 |  |

9. Model No. DLM002

Trimless Modular Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DLM002-A | 5W | 400lm | Philips Driver | CREE COB | 3000K 4000K 6000K | 15°24°38° 55° | >0.90 | Ra80/90 | ɸ91*H78 | ɸ92 |
| DLM002-B | 10W | 800lm |  |  |  |  |  |  | ɸ91*H115 |  |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

10. Model No. XTD-B

Trimless Linear Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| XTD-B-01 | 2W*1 | 150lm | Philips Driver | CREE Osram | 3000K 4000K 5000K | 15°30°45° | >0.90 | Ra80/90 | 35*35*H49 | 42*42 |
| XTD-B-02 | 2W*2 | 300lm |  |  |  |  |  |  | 65*35*H49 | 72*42 |
| XTD-B-05 | 2W*5 | 800lm |  |  |  |  |  |  | 138*35*H49 | 144*42 |
| XTD-B-10 | 2W*10 | 1700lm |  |  |  |  |  |  | 270*35*H49 | 277*42 |
| XTD-B-15 | 2W*15 | 2500lm |  |  |  |  |  |  | 403*35*H49 | 409*42 |

11. Model No. XTD-A

LED Linear Downlight with Trim

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| XTD-A-01 | 2W*1 | 150lm | Philips Driver | CREE Osram | 3000K 4000K 5000K | 15°30°45° | >0.90 | Ra80/90 | 45*45*H49 | 37*37 |
| XTD-A-02 | 2W*2 | 300lm |  |  |  |  |  |  | 75*45*H49 | 68*37 |
| XTD-A-05 | 2W*5 | 800lm |  |  |  |  |  |  | 147*45*H49 | 140*37 |
| XTD-A-10 | 2W*10 | 1700lm |  |  |  |  |  |  | 280*45*H49 | 273*37 |
| XTD-A-15 | 2W*15 | 2500lm |  |  |  |  |  |  | 415*45*H49 | 405*37 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

12. Model No. SMDL001

Square Surface Mounted Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Height(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SMDL001-4F | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | 80*80 | 103 |
| SMDL001-5F | 15W | 1300lm |  |  |  |  |  |  | 100*100 | 112 |
| SMDL001-6F | 20W | 1700lm |  |  |  |  |  |  | 120*120 | 133 |
| SMDL001-8F | 30W | 2500lm |  |  |  |  |  |  | 150*150 | 142 |

13. Model No. SD002

LED Gimbal Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD002-2.5F | 7W | 550lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | ɸ85*H78 | ɸ76 |
| SD002-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ130*H110 | ɸ120 |
| SD002-5F | 30W | 2500lm |  |  |  |  |  |  | ɸ165*H143 | ɸ155 |
| SD002-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ190*H155 | ɸ170 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

14. Model No. HSTD001

LED Wall Washer Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HSTD001-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° 38° | >0.90 | Ra80/90 | D90*H113 | D78 |
| HSTD001-B | 15W | 1300lm |  |  |  |  |  |  | D90*H134 | D78 |
| HSTD001-C | 20W | 1700lm |  |  |  |  |  |  | D120*H116 | D100 |
| HSTD001-D | 40W | 3500lm |  |  |  |  |  |  | D160*H156 | D140 |

15. Model No. ATD001

Adjustable LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATD001-A | 10W | 850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | D111*H90 | D80 |
| ATD001-B | 15W | 1300lm |  |  |  |  |  |  | D120*H105 | D90 |
| ATD001-C | 20W | 1700lm |  |  |  |  |  |  | D142*H120 | D110 |
| ATD001-D1/D2 | 30W 40W | 2500lm 3400lm |  |  |  |  |  |  | D180*H130 | D145/D160 |
| ATD001-E1 | 40W | 3400lm |  |  |  |  |  |  | D194*H135 | D160 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

16. Model No. TD057

LED Downlight with Lens

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD057-A | 15W | 1300lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° 38°60° | >0.90 | Ra80/90 | D115*H80 | D95 |
| TD057-B | 30W | 2500lm |  |  |  |  |  |  | D142*H101 | D125 |
| TD057-C | 40W | 3300lm |  |  |  |  |  |  | D160*H133 | D140 |

17. Model No. TSD0808

Oblique Downlight Square

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0808-A | 10W | 800lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | SQ95*H98 | 80*80 |
| TSD0808-B | 15W | 1200lm |  |  |  |  |  |  | SQ115*H120 | 100*100 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

18. Model No. TSD0816

Spot Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0816-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | SQ75*H65 | D70 |
| TSD0816-B | 15W | 1300lm |  |  |  |  |  |  | SQ100*H85 | D90 |
| TSD0816-C | 20W | 1700lm |  |  |  |  |  |  | SQ135*H110 | D115 |

19. Model No. DD001-1

LED Grille Light 1 Head

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-1-A | 10W | 850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | SQ140*H144 | 125*125 |
| DD001-1-B | 15W | 1300lm |  |  |  |  |  |  | SQ160*H163 | 145*145 |
| DD001-1-C | 25W | 2200lm |  |  |  |  |  |  | SQ190*H173 | 170*170 |
| DD001-1-D | 40W | 3400lm |  |  |  |  |  |  | SQ203*H188 | 185*185 |

Warranty 3-5 Years

Light Up the Green World . LED Downlights Expert 7 Years

20. Model No. DD001-2

LED Grille Light 2 Heads

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-2-A | 2*10W | 2*850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | 260*140*H144 | 245*125 |
| DD001-2-B | 2*15W | 2*1300lm |  |  |  |  |  |  | 320*160*H163 | 305*145 |
| DD001-2-C | 2*25W | 2*2200lm |  |  |  |  |  |  | 375*190*H173 | 355*170 |
| DD001-2-D | 2*40W | 2*3400lm |  |  |  |  |  |  | 405*203*H188 | 385*185 |

21. Model No. DD001-3

LED Grille Light 3 Heads

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-3-A | 3*10W | 3*850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | 372*140*H144 | 360*125 |
| DD001-3-B | 3*15W | 3*1300lm |  |  |  |  |  |  | 462*160*H163 | 450*145 |
| DD001-3-C | 3*25W | 3*2200lm |  |  |  |  |  |  | 538*190*H173 | 520*170 |

Warranty 3-5 Years