Light Up the Green World . LED Downlights Expert 7 Years

New LED COB Downlight

1: Model No. TSD0810

- Product Name: Oblique Square LED Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) | - Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - TSD0810-A | - 10W | - 850lm | - Philips Driver | - CREE COB | - 3000K - 4000K - 5000K | - 24° | - RA>80 - RA>90 | - SQ85*H110 | - L78*W78 |
| - TSD0810-B | - 5W | - 430lm |  |  |  |  |  | - SQ85*H80 | - L78*W78 |

2: Model no. TD062-8F

- Product name: 60W LED COB Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) | - Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - TD062-8F | - 60W | - 5100lm | - LinKuan Driver | - CREE COB | - 3000K - 4000K - 5000K | - 60° | - RA>80 - RA>90 | - D233*H133 | - D210mm |

3: Model no. HSTD002-A

- Product name: Adjustable Spotlight Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) | - Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - HSTD002-A | - 7W | - 560lm | - Philips Driver | - CREE COB | - 3000K - 4000K - 5000K | - 10° 20° 30° | - RA>80 - RA>90 | - D85*H90 | - D75 |
| - HSTD002-B | - 10W | - 850lm |  |  |  |  |  | - D85*H110 | - D75 |

Hot Selling LED COB Downlight

4:  Model No. TD051A               TD051B               TD051D

LED COB Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD051-2.5F | 5W | 400lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 50° | >0.90 | Ra80/90 | ɸ89.7*H56 | ɸ75 |
| TD051-3F | 9W | 790lm |  |  |  |  |  |  | ɸ110*H68 | ɸ90 |
| TD051-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ137.5*H82 | ɸ120 |
| TD051-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ165*H91 | ɸ140 |
| TD051-6F | 30W | 2600lm |  |  |  |  |  |  | ɸ195*H107 | ɸ170 |
| TD051-8F | 40W | 3500lm |  |  |  |  |  |  | ɸ235*H127.5 | ɸ200 |

5:  Model No. TD053A                   TD053B               TD053C

IP54 COB Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD053-3F | 10W | 850lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 50° | >0.90 | Ra80/90 | ɸ110*H61 | ɸ95 |
| TD053-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ135*H69 | ɸ110 |
| TD053-5F | 25W | 2200lm |  |  |  |  |  |  | ɸ160*H75 | ɸ130 |
| TD053-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ185*H100 | ɸ165 |
| TD053-8F | 60W | 4800lm |  |  |  |  |  |  | ɸ240*H120 | ɸ205 |

6:  Model No. TD033A                TD033B               TD033C

IP44 LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD033-3F | 9W | 750lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 60° | >0.90 | Ra80/90 | ɸ108*H52 | ɸ95 |
| TD033-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ142*H65 | ɸ125 |
| TD033-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ158*H75 | ɸ140 |
| TD033-6F | 25W | 2200lm |  |  |  |  |  |  | ɸ185*H88 | ɸ170 |
| TD033-8F | 40W | 3500lm |  |  |  |  |  |  | ɸ226*H108 | ɸ210 |
| TD033-10F | 60W | 5000lm |  |  |  |  |  |  | ɸ282*H130 | ɸ265 |

7:  Model No. TD041

- Horn LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD041-3F | 9W | 750lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24°60° | >0.90 | Ra80/90 | ɸ105*H90.5 | ɸ95 |
| TD041-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ139*H110.5 | ɸ125 |
| TD041-5F | 25W | 2200lm |  |  |  |  |  |  | ɸ162*H125.5 | ɸ140 |
| TD041-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ185*H145 | ɸ170 |

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD060-4F | 20W | 1800lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 40° | >0.90 | Ra80/90 | ɸ150*H80 | ɸ130 |
| TD060-6F | 30W | 2700lm |  |  |  |  |  |  | ɸ195*H100 | ɸ175 |
| TD060-8F | 40W | 3600lm |  |  |  |  |  |  | ɸ220*H110 | ɸ200 |

8:  Model No. TD060

Product Name:  LED COB Downlight

9:  Model No. TD056

SMD COB Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD056-4F | 12W | 100lm | Philips Driver | SanAnCOB | 3000K 4000K 6000K | 60° | >0.90 | Ra80/90 | ɸ148*H63 | ɸ125 |
| TD056-6F | 20W | 1600lm |  |  |  |  |  |  | ɸ195*H63 | ɸ168 |
| TD056-8F | 30W | 2400lm |  |  |  |  |  |  | ɸ230*H63 | ɸ190 |
| TD056-10F | 30W | 2400lm |  |  |  |  |  |  | ɸ280*H88 | ɸ195 |

10:  Model No. TD057

LED Downlight with Lens (Max: 80W)

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD057-A | 15W | 1300lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° 38°60° | >0.90 | Ra80/90 | D115*H80 | D95 |
| TD057-B | 30W | 2500lm |  |  |  |  |  |  | D142*H101 | D125 |
| TD057-C | 40W | 3300lm |  |  |  |  |  |  | D160*H133 | D140 |

11:  Model No. TD036A

- Product Name: SMD COB LED Downlight

| ​Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TD036A-5F | 10W | 850lm | Philips Driver | SMD | 3000K 4000K 6000K | 100° | >0.90 | Ra80 | D145*H63 | D125 |
| TD036A-6F | 20W | 1700lm |  |  |  |  |  |  | D196*H63 | D170 |
| TD036A-8F | 30W | 2500lm |  |  |  |  |  |  | D242*H63 | D210 |

Adjustable Downlights

12:  Model No. ATD001

Adjustable LED Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATD001-A | 10W | 850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | D111*H90 | D80 |
| ATD001-B | 15W | 1300lm |  |  |  |  |  |  | D120*H105 | D90 |
| ATD001-C | 20W | 1700lm |  |  |  |  |  |  | D142*H120 | D110 |
| ATD001-D1/D2 | 30W 40W | 2500lm 3400lm |  |  |  |  |  |  | D180*H130 | D145/D160 |
| ATD001-E1 | 40W | 3400lm |  |  |  |  |  |  | D194*H135 | D160 |

13:  Model No. ATD002

- Product Name:  Eyeball LED Downlight 1 Head

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATD002-3F | 12W | 1050lm | Philips Driver | CREE | 3000K 4000K 5000K | 15° 24° 40° | >0.90 | Ra80/90 | D115*H95 | D95 |
| ATD002-4F | 15W | 1300lm |  |  |  |  |  |  | D115*H105 | D95 |
| ATD002-5F | 20W | 1700lm |  |  |  |  |  |  | D135*H120 | D120 |
| ATD002-6F | 30W | 2600lm |  |  |  |  |  |  | D135*H130 | D120 |

14:  Model No. ATD002-2

- Product Name: Eyeball LED Downlight 2 Heads

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATD002-2-A | 2*12W | 2*1000lm | Philips Driver | CREE | 3000K 4000K 5000K | 15° 24° 38° | >0.90 | Ra80/90 | W115*L210*H95 | W95*L190 |
| ATD002-2-B | 2*20W | 2*1700lm |  |  |  |  |  |  | W135*L250*H120 | W115*L230 |
| ATD002-2-C | 2*30W | 2*2500lm |  |  |  |  |  |  | W135*L250*H130 | W115*L230 |

360 Degree Rotatable Downlights

15:  Model No. RADL005

- Product Name: 360°Rotatable LED Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) | - Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - RADL005-A | - 3W | - 250lm | - Philips Driver | - CREE COB | - 3000K - 4000K - 5000K | - 60° | - RA>80 - RA>90 | - D70*H30 | - D55 |
| - RADL005-B | - 5W | - 400lm |  |  |  |  |  | - D88*H33 | - D75 |
| - RADL005-C | - 7W | - 600lm |  |  |  |  |  | - D110*H35 | - D95 |

16:  Model No. SD005-6F

- Product Name: Double Rings Adjustable Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) | - Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - SD005-6F | - 30W | - 2700lm | - Philips Driver | - CREE COB | - 3000K - 4000K - 5000K | - 24° | - RA>80 - RA>90 | - D165*H95 | - D145 |
| - SD005-8F | - 40W | - 3500lm |  |  |  |  |  | - D198*H130 | - D165 |

17:  Model No. SD001

LED Gimbal Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD001-3F | 7W | 550lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | ɸ86*H68 | ɸ70 |
| SD001-4F | 12W | 1000lm |  |  |  |  |  |  | ɸ118*H65 | ɸ90 |
| SD001-5F | 20W | 1700lm |  |  |  |  |  |  | ɸ140*H80 | ɸ120 |
| SD001-6F | 30W | 2500lm |  |  |  |  |  |  | ɸ160*H125 | ɸ145 |

18:  Model No. SD004

LED Square Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD004A | 30W | 2400lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 12°24°36° | >0.90 | Ra80/90 | SQ175*H145 | 150*150 |
| SD004B | 50W | 4000lm |  |  |  |  |  |  | SQ175*H180 | 150*150 |
| SD004C | 2*30W | 2*2400lm |  |  |  |  |  |  | 175*325*H145 | 150*300 |
| SD004D | 2*50W | 2*4000lm |  |  |  |  |  |  | 175*325*H180 | 150*300 |

LED Downlight Module

Model No. DLM001-A                 DLM001-B              DLM001-C              DLM001-D

19:  Model No. DLM001-E              DLM001-F             DLM001-C

Modular Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DLM001-A | 10W | 850lm | Philips Driver | CREE COB | 3000K 4000K 6000K | 15°24°36° | >0.90 | Ra80/90 | SQ95*H98 | 85*85 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ95*H103 |  |
| DLM001-B | 10W | 850lm |  |  |  |  |  |  | SQ105*H113 | 95*95 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ105*H118 |  |
| DLM001-C | 10W | 850lm |  |  |  |  |  |  | SQ95*H118 | 85*85 |
|  | 15W | 1300lm |  |  |  |  |  |  | SQ95*H123 |  |
| DLM001-D | 10W | 850lm |  |  |  |  |  |  | ɸ95*H98 | ɸ85 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ95*H103 |  |
| DLM001-E | 10W | 850lm |  |  |  |  |  |  | ɸ90*H105 | ɸ80 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ90*H110 |  |
| DLM001-F | 10W | 850lm |  |  |  |  |  |  | ɸ85*H105 | ɸ77 |
|  | 15W | 1300lm |  |  |  |  |  |  | ɸ85*H112 |  |

20:  Model No. DLM002

Trimless Modular Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DLM002-A | 5W | 400lm | Philips Driver | CREE COB | 3000K 4000K 6000K | 15°24°38° 55° | >0.90 | Ra80/90 | ɸ91*H78 | ɸ92 |
| DLM002-B | 10W | 800lm |  |  |  |  |  |  | ɸ91*H115 |  |

LED Linear Downlight

21:  Model No. XTD-B

Trimless Linear Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| XTD-B-01 | 2W*1 | 150lm | Philips Driver | CREE Osram | 3000K 4000K 5000K | 15°30°45° | >0.90 | Ra80/90 | 35*35*H49 | 42*42 |
| XTD-B-02 | 2W*2 | 300lm |  |  |  |  |  |  | 65*35*H49 | 72*42 |
| XTD-B-05 | 2W*5 | 800lm |  |  |  |  |  |  | 138*35*H49 | 144*42 |
| XTD-B-10 | 2W*10 | 1700lm |  |  |  |  |  |  | 270*35*H49 | 277*42 |
| XTD-B-15 | 2W*15 | 2500lm |  |  |  |  |  |  | 403*35*H49 | 409*42 |

22:  Model No. XTD-A

LED Linear Downlight with Trim

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| XTD-A-01 | 2W*1 | 150lm | Philips Driver | CREE Osram | 3000K 4000K 5000K | 15°30°45° | >0.90 | Ra80/90 | 45*45*H49 | 37*37 |
| XTD-A-02 | 2W*2 | 300lm |  |  |  |  |  |  | 75*45*H49 | 68*37 |
| XTD-A-05 | 2W*5 | 800lm |  |  |  |  |  |  | 147*45*H49 | 140*37 |
| XTD-A-10 | 2W*10 | 1700lm |  |  |  |  |  |  | 280*45*H49 | 273*37 |
| XTD-A-15 | 2W*15 | 2500lm |  |  |  |  |  |  | 415*45*H49 | 405*37 |

Surface Mounted LED Downlight

- 23:  Model No. SMDL003

- Product Name:  Round Surface Mounted Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Height(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SMDL003-4F | 9W | 750lm | Philips Driver | CREE | 3000K 4000K 5000K | 24°45° | >0.90 | Ra80/90 | D90 | 90 |
| SMDL003-5F | 15W | 1300lm |  |  |  |  |  |  | D110 | 120 |
| SMDL003-6F | 25W | 1700lm |  |  |  |  |  |  | D130 | 152 |
| SMDL003-8F | 35W | 2500lm |  |  |  |  |  |  | D170 | 185 |

23:  Model No. SMDL002

- Product Name:  Square Surface Mounted Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Height(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SMDL002-4F | 9W | 750lm | Philips Driver | CREE | 3000K 4000K 5000K | 24°45° | >0.90 | Ra80/90 | 90*90 | 90 |
| SMDL002-5F | 20W | 1700lm |  |  |  |  |  |  | 110*110 | 120 |
| SMDL002-6F | 30W | 2500lm |  |  |  |  |  |  | 130*130 | 135 |
| SMDL002-8F | 40W | 3300lm |  |  |  |  |  |  | 160*160 | 165 |

24:  Model No. SMDL001

Square Surface Mounted Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Height(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SMDL001-4F | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | 80*80 | 103 |
| SMDL001-5F | 15W | 1300lm |  |  |  |  |  |  | 100*100 | 112 |
| SMDL001-6F | 20W | 1700lm |  |  |  |  |  |  | 120*120 | 133 |
| SMDL001-8F | 30W | 2500lm |  |  |  |  |  |  | 150*150 | 142 |

25:  Model No. ASMDL002-3F

- Product Name: Adjustable Surface Mounted LED Downlight

| - Model No. | - Power | - Lumen(lm) | - Driver Brand | - LED Style | - CCT(K) | - Beam Angle | - CRI | - Size(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - ASMDL002-3F | - 10W | - 850lm | - Philips Driver | - CREE COB | - 3000K - 4000K - 5000K | - 24° | - RA>80 - RA>90 | - D68*H198 |

LED Gimbal Downlight

26:  Model No. SD002

LED Gimbal Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD002-2.5F | 7W | 550lm | Philips Driver | CREE COB | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | ɸ85*H78 | ɸ76 |
| SD002-4F | 15W | 1300lm |  |  |  |  |  |  | ɸ130*H110 | ɸ120 |
| SD002-5F | 30W | 2500lm |  |  |  |  |  |  | ɸ165*H143 | ɸ155 |
| SD002-6F | 40W | 3500lm |  |  |  |  |  |  | ɸ190*H155 | ɸ170 |

27:  Model No. SD005

- Product Name: LED Trunk Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SD005-2.5F | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° 38° | >0.90 | Ra80/90 | D90*H70 | D75 |
| SD005-3F | 15W | 1300lm |  |  |  |  |  |  | D115*H125 | D100 |
| SD005-4F | 25W | 2200lm |  |  |  |  |  |  | D138*H120 | D128 |
| SD005-5F | 35W | 2900lm |  |  |  |  |  |  | D165*H155 | D145 |
| SD005-6F | 40W | 3500lm |  |  |  |  |  |  | D190*H165 | D175 |

LED Wall Washer Downlight

28:  Model No. HSTD001

LED Wall Washer Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HSTD001-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° 38° | >0.90 | Ra80/90 | D90*H113 | D78 |
| HSTD001-B | 15W | 1300lm |  |  |  |  |  |  | D90*H134 | D78 |
| HSTD001-C | 20W | 1700lm |  |  |  |  |  |  | D120*H116 | D100 |
| HSTD001-D | 40W | 3500lm |  |  |  |  |  |  | D160*H156 | D140 |

LED Spot Downlight

29:  Model No. TSD0808

Oblique Downlight Square

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0808-A | 10W | 800lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | SQ95*H98 | 80*80 |
| TSD0808-B | 15W | 1200lm |  |  |  |  |  |  | SQ115*H120 | 100*100 |

30:  Model No. TSD0816

Spot Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0816-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | SQ75*H65 | D70 |
| TSD0816-B | 15W | 1300lm |  |  |  |  |  |  | SQ100*H85 | D90 |
| TSD0816-C | 20W | 1700lm |  |  |  |  |  |  | SQ135*H110 | D115 |

31:  Model No. TSD0806

- Product Name: Square Adjustable LED Downlight 10W 15W 20W

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0806-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | SQ85*H65 | D75 |
| TSD0806-B | 15W | 1300lm |  |  |  |  |  |  | SQ110*H85 | D95 |
| TSD0806-C | 20W | 1700lm |  |  |  |  |  |  | SQ145*H100 | D115 |

32:  Model No. TSD0803

- Product Name: Round LED Spot Downlight

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD0803-A | 10W | 850lm | Philips Driver | CREE | 3000K 4000K 5000K | 24° | >0.90 | Ra80/90 | D80*H90 | D75 |
| TSD0803-B | 15W | 1300lm |  |  |  |  |  |  | D100*H115 | D90 |
| TSD0803-C | 20W | 1700lm |  |  |  |  |  |  | D135*H145 | D115 |

LED Grille Downlights

33:  Model No. DD001-1

LED Grille Light 1 Head

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-1-A | 10W | 850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | SQ140*H144 | 125*125 |
| DD001-1-B | 15W | 1300lm |  |  |  |  |  |  | SQ160*H163 | 145*145 |
| DD001-1-C | 25W | 2200lm |  |  |  |  |  |  | SQ190*H173 | 170*170 |
| DD001-1-D | 40W | 3400lm |  |  |  |  |  |  | SQ203*H188 | 185*185 |

34:  Model No. DD001-2

LED Grille Light 2 Heads

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-2-A | 2*10W | 2*850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | 260*140*H144 | 245*125 |
| DD001-2-B | 2*15W | 2*1300lm |  |  |  |  |  |  | 320*160*H163 | 305*145 |
| DD001-2-C | 2*25W | 2*2200lm |  |  |  |  |  |  | 375*190*H173 | 355*170 |
| DD001-2-D | 2*40W | 2*3400lm |  |  |  |  |  |  | 405*203*H188 | 385*185 |

35:  Model No. DD001-3

LED Grille Light 3 Heads

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD001-3-A | 3*10W | 3*850lm | Philips Driver | CREE CITIZEN | 3000K 4000K 5000K | 24° 60° | >0.90 | Ra80/90 | 372*140*H144 | 360*125 |
| DD001-3-B | 3*15W | 3*1300lm |  |  |  |  |  |  | 462*160*H163 | 450*145 |
| DD001-3-C | 3*25W | 3*2200lm |  |  |  |  |  |  | 538*190*H173 | 520*170 |

36:  Model No. GSD1201

- Product Name: LED Grille Downlight 12W

| Model No. | Power | Lumen(lm) | Driver Brand | LED Style | CCT(K) | Beam Angle | Power Factor | CRI | Size(mm) | Cutout(mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GSD1201-1-A | 1*12W | 1000lm | Philips Driver | CREE | 3000K 4000K 5000K | 15° 24° | >0.90 | Ra80/90 | 133*132*110 | 120*120 |
| GSD1201-2-A | 2*12W | 2*1000lm |  |  |  |  |  |  | 232*132*110 | 220*120 |
| GSD1201-3-A | 3*12W | 3*1000lm |  |  |  |  |  |  | 240*132*110 | 330*120 |
| GSD1201-4-A | 4*12W | 4*1000lm |  |  |  |  |  |  | 232*232*110 | 225*225 |